## Question 22
Organisation | Respondent ID | Comments
DHA Planning obo Fernham Homes Operations Ltd | 6967be3ddd5324d3b42701cc | 6.5POLICY CC8: SUSTAINABLE DRAINAGE SYSTEMS (SUDS)6.5.1Fernham Homes generally supports the inclusion of Policy CC8 which appears broadly in line with national policy and guidance.6.5.2We however comment that elements of the Policy could be contained within the supporting text, this includes the definition of what Qbar is. It is our recommendation that TMBC reviews the Policy wording to avoid unnecessary repetition and provide a clearer Policy, which can be applied more effectively.
DHA Planning obo Fernham Homes Operations Ltd | 6967be3ddd5324d3b42701cc | 6.5 POLICY CC8: SUSTAINABLE DRAINAGE SYSTEMS (SUDS)6.5.1Fernham Homes generally supports the inclusion of Policy CC8 which appears broadly in line with the national policy and guidance.6.5.2We however comment that elements of the Policy could be contained within the supporting text, this includes the definition of what Qbar is. It is our recommendation that TMBC reviews the Policy wording to avoid unnecessary repetition and provide a clearer Policy, which can be applied more effectively.
West Malling Parish Council | 6983690af6c12f699f792876 | Despite water scarcity, a 10% increase in rainfall is predicted for Tonbridge and Malling by 2042, and rainfall is likely to be extremely heavy at times. Managing surface water to efficiently reduce run off surface water is essential for any new development. New development should not contribute to increased surface water.Sustainable drainage systems (SuDS) are intended to remain effective in the event of a climate adjusted 1:100 years storm. Since the existing water and drainage systems would be overwhelmed, SuDS must be able to detain and retain water where it falls, using nature-based solutions relying on water soaking into the ground and then following a natural course. Tree planting, green roofs, rain gardens and swales provide health benefits for people, shade in hot weather, and enhance biodiversity. The policy requires developers to provide long term maintenance of SuDS.It would be helpful if there were regulations dictating the kind of permeable hard surface that should be laid down when people replace garden space with parking.
Kent County Council | 69835401d57be146e36f8d37 | Sustainable Urban DrainageThe County Council supports this policy, specifically point 1bii for the design of SuDS to provide multifunctional benefits. It would advise that reference to climate resilience is also included to highlight the role of SuDS in adapting to climate change.Section 2 – Earlier this year DEFRA released new National standards for sustainable drainage systems (SuDS) - GOV.UK, which have altered the acceptable hierarchy of SuDS features to:• priority 1: collected for non-potable use• priority 2: infiltrated to ground• priority 3: discharged to an above-ground surface water body• priority 4: discharged to a surface water sewer or another piped surface water drainage system• priority 5: discharged to a combined sewerFor the purposes of this standard, a combined sewer is a sewer intended to receive both foul sewage and surface runoff and does not include a sewer intended to receive only foul sewage, even if it has the capacity to accommodate additional flows or has an element of surface water in it already.The latest standards have also strengthened their requirements with regard to the quantitative rate of runoff and volume from surface water. The County Council would ask that TMBC review this document with a view to ensuring their local requirements as a minimum reflect the national standards.Further to this, we note that no mention, with regard to Policy CC8, appears to have been given to brownfield sites; section 3.2.1 of the DEFRA standards provides further requirements in the National standards for sustainable drainage systems - GOV.UK which TMBC may wish to consider.Heritage ConservationThe County Council would like it recognised that SuDS may have both direct and indirect impacts on the historic environment. Direct impacts could include damage to known heritage assets – for example, if a historic drainage ditch is widened and deepened as part of SuDS works. Alternatively, they may directly impact unknown assets, such as when SuDS works damage buried archaeological remains. Indirect impacts are when the ground conditions are changed by SuDS works, thereby impacting on heritage assets. For example, using an area for water storage or improving an area’s drainage can change the moisture level in the local environment. Archaeological remains in particular are highly vulnerable to changing moisture levels, which can accelerate the decay of organic remains and alter the chemical constituency of the soils. Historic buildings are often more vulnerable than modern buildings to flood damage to their foundations.When SuDS are planned, it is important that the potential impact on the historic environment is fully considered and any unavoidable damage is mitigated. This is best secured by early consideration of the local historic environment following consultation with the Historic Environment Record - Kent County Council (HER) and by taking relevant expert advice. Kent County Council has produced advice for SUDS in the Historic Environment guidance for Sustainable Drainage Scheme developers. It provides information about the potential impact of SuDS on the historic environment, the range of mitigation measures available and how developers should proceed if their schemes are believed likely to impact on heritage assets.
Kent County Council | 69835401d57be146e36f8d37 | The County Council is satisfied with policies CC6 – Water efficiency, CC7 - Managing Development and CC8 – sustainable drainage systems.
- | 69834f3cddbf4e450e6ba501 | Any SuDs proposed for site TO1 will have to takeaccount of the previous serious flooding from theland and the inadequate state of the local drainagesystem from Higham Wood to Tonbridge treatmentworks. SuDS are unlikely to prevent futureflooding.
DHA Planning obo Fernham Homes Operations Ltd | 6967be3ddd5324d3b42701cc | Fernham Homes generally supports the inclusion of Policy CC8 which appears broadly in line with national policy and guidance.6.5.2We however comment that elements of the Policy could be contained within the supporting text, this includes the definition of what Qbar is. It is our recommendation that TMBC reviews the Policy wording to avoid unnecessary repetition and provide a clearer Policy, which can be applied more effectively.
DHA Planning obo Fernham Homes Operations Ltd | 6967be3ddd5324d3b42701cc | 6.5 POLICY CC8: SUSTAINABLE DRAINAGE SYSTEMS (SUDS)6.5.1 Fernham Homes generally supports the inclusion of Policy CC8 which appearsbroadly in line with the national policy and guidance.6.5.2 We however comment that elements of the Policy could be contained within thesupporting text, this includes the definition of what Qbar is. It is ourrecommendation that TMBC reviews the Policy wording to avoid unnecessaryrepetition and provide a clearer Policy, which can be applied more effectively
Natural England | 6973977d58bf1c05d245fe8b | Support:We support the inclusion of this policy and the requirement for SuDS systems to be designed for multifunctional green infrastructure.
DHA Planning OBO Bellway Homes Ltd | 6981bff44a49a115e708c984 | Policy CC8: Sustainable Drainage Systems (SuDS) – Object with comments4.3.6Bellway generally supports the inclusion of Policy CC8, which is broadly consistent with national policy and guidance.4.3.7However, they object to certain elements of the policy as set out in the supporting text, which are overly descriptive and risk becoming outdated due to future changes in flood management legislation and requirements.
DHA Planning obo Fernham Homes Operations Ltd | 6967be3ddd5324d3b42701cc | Fernham Homes generally supports the inclusion of Policy CC8 which appearsbroadly in line with the national policy and guidance.6.5.2 We however comment that elements of the Policy could be contained within thesupporting text, this includes the definition of what Qbar is. It is ourrecommendation that TMBC reviews the Policy wording to avoid unnecessaryrepetition and provide a clearer Policy, which can be applied more effectively.
Environment Agency | 698070a1e2f49c0e81a5dd02 | We note the section on sustainable drainage systems (page 108 onwards) and associated policy CC8, however, are disappointed this contains no mention or reference to water quality.We further note the mention of sustainable drainage systems on page 360 but are disappointed that this only relates to flood risk, however, it does not consider water quality. Proposals for Sustainable Drainage systems involving infiltration must be assessed and discussed with us to determine their suitability in terms of the impact of any drainage (foul or surface water) into the groundwater aquifer. Policy CC8: Sustainable Drainage Systems (SuDS)Focus is on water quantity, with limited reference to water quality and treatment. If adequate water treatment is not provided by SuDS, this presents a risk to the receiving waterbody. We therefore strongly recommend that reference is made to providing appropriate water quality treatment in SuDS, in line with CIRIA SuDS Manual (C753)
- | 697b36e9eb8684c48623b63c | Any SuDs proposed for site T01 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
Save Higham Wood Group | 697b2f1beb8684c48623b60f | Helping to address climate changeDo you agree with Policy CC8: Sustainable Drainage Systems (SuDS)?Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 697b2a978291c09e43aa9c3b | Helping to address climate changeDo you agree with Policy CC8: Sustainable Drainage Systems (SuDS)?Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 697b24ff8291c09e43aa9c0e | Helping to address climate changeDo you agree with Policy CC8: Sustainable Drainage Systems (SuDS)?Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
Natural England | 6973977d58bf1c05d245fe8b | Support:We support the inclusion of this policy and the requirement for SuDS systems to be designed for multifunctional green infrastructure.
Southern Water | 694abe53c10411c6dcb6b000 | Southern Water is the wastewater service provider for the TMBC district. Southern Water strongly supports all policy requirements which seek to ensure that surface water is appropriately managed, as close to source as possible. We support adherence to the National Standards for SustainableDrainage issued by Government in June 2025 and request these be embedded within this policy.Requested wording:In particular point 2 of the policy CC8 requires correction, as surface and rainwater harvesting for non-potable re-use is at the top of the hierarchy of drainage routes in section 1.2 of the National Standards:Runoff from the development shall be discharged to the following final destinations, to the maximum extent practicable, in accordance with the below hierarchy:- priority 1: collected for non-potable use- priority 2: infiltrated to ground- priority 3: discharged to an above ground surface water body- priority 4: discharged to a surface water sewer, or another piped surface water drainage system- priority 5: discharged to a combined sewerParagraph 6.110 of the local plan is therefore also out of date to the above hierarchy and requires review to bring this in line with the National Standards - National standards for sustainable drainage systems (SuDS) - GOV.UKPlease could the following wording also be added to point 3 of the policy to help ensure compliance with the Standards:The discharge of surface water into a sewer designed for foul flows will not be permitted. For development within Source Protection Zones please see Southern Water’s SuDS in SPZ guidance here - https://www.southernwater.co.uk/media/ooubtggs/suds-in-spz-guidance.pdfAdditionally, any points of the SuDS policy CC8 intended to facilitate paragraph 6.109 of the local plan may also need review.Further explanation:Surface water connections to the public sewerage network should only be made with prior agreement of Southern Water. In line with the National Standards, we will not permit connections of surface water to foul sewers. The National Standards make clear that the definition of ‘foul network’ is sewers originally designed to accept foul flows. This is the definition that distinguishes them from combined sewers. Southern Water will also resist connections to the surface water network unless evidence is provided to confirm that the hierarchy of drainage routes has been fully exhausted.We need planning policy to help ensure that the measures necessary to sustainable development are delivered in response to the climate crisis. Sustainable development is central to the local planning framework for planning applications coming forward. Measures should support theattenuation of flows of surface water run-off from rainfall, as well as surface water harvesting and infiltration wherever possible in the local environment. Measures should help to protect the environment and prevent pollution. As there are source protection zones (SPZ) in the area thatTMBC proposes development, we also attach guidance that helps to explain the steps necessary to identify the SuDS designs appropriate to these areas.Source Protection Zones (SPZ) are created by the Environment Agency for licensed groundwater abstractions that warrant additional protection as they provide public drinking water supply. Whilst the Environment Agency sets guidance from the perspective of environmental protection, it isimportant to also keep drinking water standards in mind when protecting SPZ. Drinking water standards are more stringent than the environmental standards more often referred to in guidance for the protection of groundwater from sustainable urban drainage systems (SuDS).The principal rule of groundwater protection is preventing or avoiding potentially contaminating activities from occurring in the first place within groundwater catchments used for drinking water. Although groundwater is treated before feeding into supply, planned treatment processes cannotreact to every change in water quality. Were an SPZ to become contaminated, this could result in loss of public water supply. It is therefore critical to protect water quality in source protection zones.The complexities and challenges of drainage need a collaborative approach between the responsible organisations, such as Local Authorities, Southern Water, the Environment Agency and community groups to adapt the urban environment to be more resilient to our changing weather patterns. Communities need planning policy to go further as climate change now demands we re-think and re-design communities. More resilient and efficient homes are essential – conserving both energy and water. However, we also need to ensure that design will not mean that rainwater continues to run off homes and surfaces so fast that it causes flooding and stormdischarges into rivers and seas. By controlling the rate and volume of surface water entering the combined sewer network, sustainable urban drainage systems (SuDS) can improve existing flood risk and water quality. Together, we need to separate rainwater from wastewater. We needplanning policy to encourage proactive, cross-sector collaboration and integrated water management.Southern Water is working across our region to remove surface water from our networks in key areas. Even as we deliver this work, development continues to increase surface water run-off. We must therefore plan to ensure that rainwater is separated from wastewater in the design andconstruction of our communities, to ensure community resilience to the evolving impacts of climate change. For more information on our work, and the root causes of releases from storm overflows, please see –https://www.southernwater.co.uk/our-region/clean-rivers-and-seas-task-force/pathfinders/https://www.southernwater.co.uk/our-performance/storm-overflows/storm-overflow-task-forceOver time, the expansion of urban settlements as well as ‘urban creep’ (home extensions, conservatories and paving over front gardens for parking) have incrementally added to the amount of rainwater entering sewers, resulting in increased releases from storm overflows. As stated inWater UK’s 21st Century Drainage Programme;“The country’s built environment is constantly changing and “urban creep” – home extensions, conservatories and paving over front gardens for parking – can all add to the amount of water going into our sewers and drains. Green spaces that would absorb rainwater are covered over by concrete and tarmac that will not. In fact, studies show that “urban creep” results in a larger increase in predicted flooding than new housing, because it adds more rainwater to these systems’.
- | 69734ee48eea2f95424b14fb | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge Treatment Works. SuDS are unlikely to prevent future flooding.
- | 697346af8eea2f95424b14d3 | Any SuDs proposed for site T01 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge Treatment Works. SuDS are unlikely to prevent future flooding.
East Peckham Parish Council (EPPC) | 6943e5d5932f3c869320ffe9 | 10.1. An increase in impermeable surfaces (roofs, roads, driveways), generates faster surface water runoff.10.2. EPPC notes Policy CC8 in the draft Local Plan regarding the use of SuDS, however East Peckham’s ground conditions severely limit SuDS options to manage this runoff. Much of East Peckham has a shallow water table. This means infiltration techniques (like soakaways) do not work; the ground is often saturated or impermeable. For example, a recent infiltration test for a proposed development in the village (planning app TM/21/03353/FL) found soakage tests repeatedly failed. The developer’s solution was to raise ground levels by over 0.5m to fit soakaways, and ultimately to propose discharging “excess” surface water into the Coult Stream.10.3. Steep discharge limits into the Medway/Bourne/Coult rivers means: Large attenuation tanks/pits required Risk of surcharge during high river levels Need for complex outfall control structures Underlying fine grained strata (likely at phreatic surface) inhibit vertical infiltration, thus SuDS not feasible unless large balancing ponds are utilised. This amplifies flood storage demand and increases development land take.10.4. SuDS solutions with ponds would require major excavation and maintenance regimes, increasing long-term cost and reducing usable housing land.
- | 6922ea96c5270b1cb6ccb05d | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 6958301c0ae13b54f36d8c3f | These are necessary but need to be considered catchment wide and the current policy allows development that is likely to increase flood risk elsewhere directly or cumulatively. This policy is inadequate protection for properties on land below developments
Roebuck Land and Planning Ltd | 69583350478b8bdd43ddf705 | The measures within this policy seem to be in line with national planning policy guidance.
- | 69581b7bd476ee72cc26a082 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 695811e3ca2eee5a2d55d16b | SUDS have a significant drowning risk for small children
- | 6958033e17c113a815334a0a | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 6957fa650d993d964ca767ac | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 695161c8211fbf5fb53d735d | TMBC has based its SuDs policy on the 1 in 100 year storm risk and yet FloodHub shows there is now a 63.4% chance of a 1 in 100 year storm occurring each year. The Plan even refers to a 20% increase in Winter rainfall and recognises less intense 1 in 30 year storms, rather than taking a whole Borough approach to dealing with a 20% rise in Winter rainfall that new development needs to mitigate against for the whole Borough. Relying on this 1 in 100 year mantra rather than just shows a disregard for the flood risk that residents of the Borough and allows developers to inadequately mitigate against flood risk. This is a particular concern for urban Tonbridge and East Peckham.
- | 6957df651d72c50e95306a95 | This seems an important part of adaptation to climate change.
- | 6957b7dc1a9b2dc5e20ae9ea | Absolutely. The drainage at the moment is not compatible with a first world country.
- | 6957bd20295480d8c45211a6 | We have a hosepipe ban every year. New developments should split dirty water and grey water and be equipped with ponds and waterways for wildlife, noise control, and pleasure. Rules should govern concreting over of gardens and use of plastic grass to allow rainwater soakaway.
- | 6957a8dce77662264271144e | I accept that the drainage system needs upgrading but the main issue is lack of regular maintenance. Whenever there is heavy rainfall, areas of flooding appear because of blocked drains. Go for this low hanging fruit first.
- | 6947e501f437b499543f69de | Essentialto cntrol rainwater runoff in storms which will become more frequent.
- | 6956de35778cc835b929f012 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding
- | 695694a2522132cd05a2443b | There is a high identified flood risk along Stocks Green Road and the known culverts in the area and therefore no additional drainage and wastewater capacity for a large number of dwellings.
- | 6955009866cadb16a5985573 | I doubt very much that the current drainage system can sustain 1600 new homs in North Tonbridge without a lot of new pipes and a new water treatment plant. I can't read the details of the plans so I don't know if this is already planned.
- | 6955115c79b79bda8d42d280 | This policy is very necessary.
| 69550f95a57af77fe8203904 | The priorities are correct but the polciy still allows the existing situation to be made worse by new development being allowed to connect surface water to foul drains, where no alternatives are not "feasible" with disasterous consequences for the environment and residents. We need a plan that protects the environment and existing residents from the consequences or overdevelopment.
- | 6952e2f48679307bf00c0429 | The Local Plan is a great opportunity to ensure that new development is only allowed if flood risk measures are adequate.
- | 6952d236a07e0bca66209107 | It doesn't take account of the existing flooding in the area of H12. There is no amount of additional drainage that can be described as 'sustainable', when the area already floods and due to the elevation cannot accommodate any further drainage.
- | 694c03aa43cec70cc00a2dbb | More effort should be put into capturing and reusing surface water - perhaps via beds - also develpments should be designed to avoid if possible. B245 floods in several places
- | 69523e1eb2735b1cfc87dc28 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 69513ba9864180ce13dc64a6 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
| 69505b67c23991305de9aed2 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future f looding.
| 695013022365086d70d1f8a0 | Too much reliance on developer and ongoing monitoring unlikely to prevent a worsening situation. Unclear how additional sewage/foul water will be dealt with. The developments would require expensive underwater tanks to hold and slow release foul water during periods of heavy rain. Developers are unlikely to find this cost effective so large scale developments TO4 and H12 should be removed from the draft plan as they are unlikely to be realisable if the council adheres toto the principles in its Climate change policies
- | 694fceb0cbf99cd16061a263 | Observed issues in Kings Hill, including sinkholes and erosion around shared drives, suggest that either guidance or enforcement is insufficient.
- | 69492bb406fa302fd46bad33 | 8.1. An increase in impermeable surfaces (roofs, roads, driveways), generates faster surface water runoff. 8.2. Residents note Policy CC8 in TMBC’s draft plan regarding the use of SuDS, however East Peckham’s ground conditions severely limit SuDS options to manage this runoff. Much of East Peckham has a shallow water table. This means infiltration techniques (like soakaways) do not work; the ground is often saturated or impermeable. For example, a recent engineering study for a proposed development in the village (planning app TM/21/03353/FL) found soakage tests repeatedly failed. The developer’s solution was to raise ground levels by over 0.5m to fit soakaways, and ultimately to propose discharging “excess” surface water into the Coult Stream.
- | 6943d2246f24af383d226485 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 694125c56a1ef373dce1e194 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future f looding.
- | 69411b6e48fde61f443add10 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future f looding.
- | 69402bd8de8eacc835302b68 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 693eda75e955257e29ecc9ed | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 693ecbf778e43d3b04ec251f | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 693ec66f09158a322526a4d4 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 693d9c8ce37220b3e60d069a | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
APC | 6939a38785bce9392d3f76db | Overflowing foul water entering into surface water drains and directly into the sea are common news. Infrastructure improvements are paramount.
- | 693c751786b19b8935d2eedf | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 693c4fc3d00a401d71662882 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding
- | 693af3457be92b8913c05b1a | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding
- | 692847987477eedb25265f20 | To prevent pollution incidents, to mitigate flooding risk
| 6934ce96431d0e35c9391de5 | But how can you influence the privatised Water companies?
- | 6938267c72e23a3d1b36a1fc | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future f looding.
- | 692b079cf94e13c09911c226 | Again you are asking me to comment on the ethos of the plan. It all sounds well and good but your actual plan doesn't seem to meet the proposals set out. A fix to the drainage system, and all the other infratsructures issues would be a massive investment from TMBC to address this before any development work even starts. I don't another massive hike to my council tax bill to pay for this when we are already paying top whack and not seeing the results for even the smallest issues like fixing potholes, adequate policing and health and social care.
- | 6924816689fa4da466a87fc8 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 6937da0526aa7f8b103100e9 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 6936cd5c71b6943baa27698c | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding
- | 6936b9f794aa21ff05f0b372 | Any SuDS proposed for site TO1 must address the site’s history of serious flooding and the inadequate condition of the local drainage system from Higham Wood to the Tonbridge treatment works. It is unlikely that SuDS alone would prevent future flooding.
- | 693598aa17f55ee7d710a705 | Yes we need good design, but we are planning to use good land in Hadlow with no ammenities and access issues not addressed first. Properties do not have enough parking to get vehicles off the roads, and the buses are not frequent enough or cancelled too often in our villiages eg. Hadlow.
- | 692e02137a7018eca103428f | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 693442299f5cb59f4e15e245 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 6933063c0d11699a4f363bb8 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 691c4dace22b931753975685 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding
- | 692ca453c3fb8172e67ce070 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 69316457ef668fc863d95d2f | Water logged earth can only be mitigated with tree coverage. Plant more oak trees.
- | 69302a7a96f9454432fd92b8 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 692efca59b7f6f22afdfcb28 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 692ed1db261efcea26303519 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land an inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works . Suds are uinlikeluy to prevent future flooding.
- | 692e9b40ba059b171d06a109 | SuDs should be a compulsory part of the planning application process. In my village we have had extensions to existing properties granted despite drainage issues causing flooding.
- | 692dccbd983a189ff9ebadd0 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 692db11312694cbfd6ab01ea | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 692dabc99fc6e1f5bf943931 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 692d7c0f978980f565e345c7 | Any SuDs proposed for site T01 will have to take into account of previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDs are unlikely to prevent future flooding.
| 692d6fb05b1bc41a30f24a45 | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 692d6215cad2033f00942d5d | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 692d6215cad2033f00942d5d | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 6916069e2f2d8493b82289ff | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 692c9a4ffda36bde0a4ea23b | Any SuDs proposed for site TO1 will have to take account of the previous serious flooding from the land and the inadequate state of the local drainage system from Higham Wood to Tonbridge treatment works. SuDS are unlikely to prevent future flooding.
- | 6928a7057171a780cf33dcf7 | Just install drainage that works,
- | 69270c1fe7fe5ab93890bf2f | If you are doing lots of development then the infrastructure needs to be available to handle this.
- | 69174301b74c46e7f47c42c4 | Please see my PDF Umbrella Representation emailed to you which outlines in substantial detail my main points regarding Quality Traditional Design Codes with evidence from leading Academics and Architects.